## Sheet1
Ammonia |  |  |  | Uncertenity for measurment |  |  |  |  | Uncertenity for analysis
Natural sample conc | 0.6 | mg/l |  | measure |  |  |  |  | measure
Sample volume | 1000 | ml | 1 | 2 | 1.91 | 1.955 | 0.09 | 1 | 1.65 | 1.7 | 1.675 | -0.05
Stander concentration | 1000 | mg/l | 2 | 2.02 | 1.85 | 1.935 | 0.17 | 2 | 1.73 | 1.62 | 1.675 | 0.11
Spiked volume | 1.2 | ml | 3 | 1.93 | 1.92 | 1.925 | 0.01 | 3 | 1.71 | 1.63 | 1.67 | 0.08
thioretical conc. | 1.7978 |  | 4 | 1.99 | 1.91 | 1.95 | 0.08 | 4 | 1.72 | 1.66 | 1.69 | 0.06
| 1.692 | as NH3 | 5 | 1.86 | 1.9 | 1.88 | -0.04 | 5 | 1.74 | 1.75 | 1.745 | -0.01
|  |  | 6 | 1.8 | 1.96 | 1.88 | -0.16 | 6 | 1.76 | 1.72 | 1.74 | 0.04
|  |  | 7 | 1.86 | 1.91 | 1.885 | -0.05 | 7 | 1.78 | 1.78 | 1.78 | 0
|  |  | 8 | 1.99 | 1.93 | 1.96 | 0.06 | 8 | 1.62 | 1.69 | 1.655 | -0.07
|  |  | 9 | 1.98 | 1.91 | 1.945 | 0.07 | 9 | 1.72 | 1.68 | 1.7 | 0.04
|  |  | 10 | 2 | 1.95 | 1.975 | 0.05 | 10 | 1.7 | 1.75 | 1.725 | -0.05
|  |  | Average |  |  | 1.929 |  | Average |  |  | 1.7055
|  |  | Std |  |  | 0.03534 |  | Std |  |  | 0.040308
|  |  |  | RSV% |  | 1.832% |  |  | RSV% |  | 2.363%
|  |  |  | Bias |  | 9.29% |  |  | Bias |  | 7.24%
|  |  |  | Combiend uncertenity |  | . | 9.469% |  | Combiend uncertenity |  |  | 7.616%
|  |  | Expanded Uncertenity for measurment |  |  |  | 18.94% |  | expand Uncertenity for Analysis |  |  | 15.23%
|  |  | Combiend uncertenity of sampling= |  |  |  | 5.626%
|  |  | expand Combiend uncertenity of sampling= |  |  |  | 11.25%
GHARBIA WATER &WASTEWATER COMPANY
WATER CENTRAL LABORATORY
ISSUE NO: (1)
DATE: 1/11/2018
CODE: QMS.P.7.06/12/F01
Evaluation of measurement uncertainty